Adhesion Assay—

Adhesion assay performed essentially as described (16). Briefly, 96-well high protein binding plates (Greiner Bio-One) were coated for 3 h with 3g/ml rmICAM-1 (R&D Systems) and blocked for 1 h with 1% bovine serum albumin. Cells were labeled with 0.5 g/ml Calcein-AM (Invitrogen) for 15 min at 37° C, washed, and resuspended in RPMI supplemented with 5% FBS. Cells were left unstimulated or stimulated with 0.5 g biotinylated anti-CD3 (eBioscience) and 1 g streptavidin per million cells, 20 ng/ml PMA, and 1 mM MnCl2 and allowed to adhere to plate for 25 min at 37° C. Following incubation, fluorescence was measured using Victor plate reader (PerkinElmer Life Sciences) and % adhesion calculated as the ratio of fluorescence after washing to initial fluorescence. Values are mean S.E. of three experiments.