Group members’ names:

____________________________________

____________________________________

____________________________________

____________________________________

____________________________________

Project title (must be a descriptive title)

Experimental design

Source of α amylase: ______________________________________________

Question: _________________________________________________________

Hypothesis: _______________________________________________________

Prediction: ________________________________________________________

Independent variable: _____________________________________________

Dependent variable: _______________________________________________

Methods:

Equipment and Materials available for your experiment:

1.	Spectrophotometer and a pair of cuvettes.

2.	Buffered starch solutions (5%)

3.	Frozen amylase (enzyme) solution in microfuge tube(s): (i)Fungal, (ii)human and (iii) bacterial

4.	Buffers for pH 1.0, pH 3.0, pH 5.0, pH 7.0 and pH 12.0. (use 450ul of each buffer and 450µl of 5%starch)

6.	Ice in a beaker to make a 3°C ice bath

7.	Water baths fixed at 37°C, 45°C, 65°C, and 85°C

8.	Hot plate and a glass beaker for a boiling water bath

9.	Test tubes

10.	DNS reagent (yellow solution).

11.	Micropipettes with appropriate tips for each

12.	10 mL glass pipette and plastic pipette pump

13.	Deionized water

Methods:

Write a protocol that includes bulleted or numbered lists for the actual steps in the procedure (see your lab manual). Remember that there is a slight difference in the procedure for the study of temperature and pH as variables.  The protocol should have enough detail so that someone besides one of your group members could read it and perform the experiment without difficulty.

Complete the data table (Absorbance vs pH/Temperature)