Hardness test procedure

- Prepare the test specimens for hardness test

- Measure the specimen dimension

- Put the test specimen on the hardness test device

- Attached the weights to hardness test

- Adjust the level of the hardness test

- Attach the diamond indenter

- Attach the anvil on top of the raising/lowering screw

- Remove the transport protector

- Secure the anti-topping fitting to the installation platform

- Start to operate the machine as instructor demonstrated

The machine we used for hardness test

Data was taken during the lab

| samples | Trailer 1 | Trailer 2 | Trailer 3 | Average |
| --- | --- | --- | --- | --- |
| A | 62.1 | 61.7 | 60.8 | 61.53 |
| B | 117.7 | 118.7 | 120.2 | 118.86 |
| C | 86.3 | 84.9 | 82.4 | 84.53 |
| D | 73.2 | 74.3 | 76.3 | 74.6 |
| E | 77.9 | 76 | 73 | 75.63 |

The sample we used