- Exercise 5.3: Assume you have converted part of a former area of general office space in an existing building into a server room. Describe in detail the factors and equipment you would consider for each of the following topics(15 point)

- Walls and doors

- Physical access control

- Fire detection

- Fire suppression

- Heating, ventilating, and air conditioning

- Power quality and distribution